{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":105,"n_cols":12,"rows_kept":105,"cut":false,"hidden":false,"merged":[[59,4,60,4],[52,1,54,1],[55,1,58,1],[1,1,2,1],[3,1,5,1],[7,1,9,1],[10,1,12,1],[36,1,39,1],[45,1,46,1],[47,1,48,1],[14,1,17,1],[18,1,22,1],[23,1,25,1],[26,1,31,1],[49,1,50,1],[1,0,35,0],[36,0,51,0],[52,0,89,0],[59,1,60,1],[79,1,82,1],[85,1,87,1],[61,1,62,1],[63,1,64,1],[65,1,78,1],[90,0,101,0],[92,1,93,1],[95,1,96,1],[97,1,98,1],[99,1,100,1]]}
["营业所","片区","流量计安装地点","小区","栋数","表厂","总表数","应抄户数","抄回户数","未抄户数","备注","小区内表册"]
["锦华所","五中(DN100)","五中门口外","五中","1栋","潍微",71,71,null,null,null,4064.4065000000001]
[null,null,null,"一中","1栋","潍微",72,72,null,null,null,4227.4228000000003]
[null,"育才名苑(DN150)","西北消防通道口外","育才名苑","7栋","潍微",470,464,null,null,null,"4090.4091.4092.4093.4094.4095.4096.4120.4121"]
[null,null,null,"城建回迁","1栋","潍微",100,100,null,null,null,4097]
[null,null,null,"信用联社","2栋","潍微",81,81,null,null,null,"4066.4067.4068"]
[null,"鼎盛家园(DN150)","东北门口水鹤下","鼎盛家园","2栋","新天",251,240,null,null,null,4243.4243999999999]
[null,"自来水1(DN100)","自来水院里","锦江花园","12栋","潍微",923,887,null,null,null,"4098.4099.4100.4117.4118.4119.4133.4111.4186.4175.4176.4177.4178.4179.4195.4203.4141"]
[null,null,null,"锦华小区","7栋","新天",455,451,null,null,null,"4069.4070.4071.4072.4073.4074.4075.4076"]
[null,null,null,"自来水楼","1栋","新天",109,109,null,null,null,4038]
[null,"自来水2(DN80)","自来水院里","富达小区","2栋","新天",116,113,null,null,null,4051.4063000000001]
[null,null,null,"华信前后栋","2栋","潍微",71,71,null,null,null,"4047.4048.4049"]
[null,null,null,"庄宇小区","2栋","新天",109,108,null,null,null,"4039.4040.4050"]
[null,"体育场(DN40)","东通道口外","体育场门市","1栋","潍微",15,15,null,null,null,4061]
[null,"市委(DN100)","文化宫南站牌","市委小区","1栋","潍微",73,73,null,null,null,4003.4004]
[null,null,null,"乡企","1栋","潍微",63,63,null,null,null,4001.4002]
[null,null,null,"华信开发","1栋","潍微",27,27,null,null,null,4005.4005999999999]
[null,null,null,"烟草","1栋","潍微",84,84,null,null,null,4027.4027999999998]
[null,"客运站(DN100)","客运站西站北彩砖中","水利局","2栋","潍微",158,158,null,null,null,"4055.4056.4088"]
[null,null,null,"客运站","1栋","机械",12,11,null,null,null,4057]
[null,null,null,"广场门市","1栋","机械",223,214,null,null,null,4054]
[null,null,null,"通达","2栋","潍微",142,142,null,null,null,4180.4180999999999]
[null,null,null,"联通综合楼","1栋","机械",12,12,null,null,null,4201]
[null,"嘉堃(DN100)","水务集团院内","嘉堃","10栋","新天",622,426,null,null,null,"4245.4246.4247.4251.4252.4294.4289.4290.4292.4293"]
[null,null,null,"水务集团（灌区）","1栋","新天",52,47,null,null,null,4204]
[null,null,null,"元堃","2栋","新天",130,115,null,null,null,4205.4222]
[null,"助城新区(DN200)","13号楼三单元花坛中","交警队","1栋","新天",48,48,null,null,null,4236]
[null,null,null,"华新","1栋","新天",88,88,null,null,null,4018.4018999999998]
[null,null,null,"城建局","1栋","潍微",79,78,null,null,null,4162]
[null,null,null,"计量局","1栋","潍微",69,69,null,null,null,4161]
[null,null,null,"助城","26栋","新天",1104,871,null,null,null,"4259.4260.4261.4262.4263.4264.4265.4266.4267.4268.4269.4270.4271.4272.4273.4274.4275.4276.4277.4278.4279.4284.4285.4286.4287.4291"]
[null,null,null,"润禾泽苑","6栋","新天",358,311,null,null,null,"4253、4254、4255、4256、4282、4283"]
[null,"状元城二期(DN200)","平安家园东南角","二期","10栋","潍微",563,267,null,null,null,"4297.4298.4299.4300.4301.4302.4303.4304.4305.4306"]
[null,"富祥(DN100)","洗浴与宾馆之间路口","富祥","7栋","潍微",600,578,null,null,null,"4168.4193.4194.4199.4214.4058.4059.4060"]
[null,"林业富祥(DN150)","社区门口","林业富祥","9栋","光电",629,552,null,null,null,"4210.4211.4212.4213.4237.4238.4239.4240.4257.4258"]
[{"$nulls":6},{"$f":"SUM(G2:G35)","v":7979},{"$f":"SUM(H2:H35)","v":7016}]
["临江所","盐业(DN150)","西北通道口中间外","人民银行","1栋","新天",50,50,null,null,null,3183]
[null,null,null,"橡胶厂","1栋","新天",57,57,null,null,null,3071]
[null,null,null,"供电所","1栋","新天",70,70,null,null,null,3068]
[null,null,null,"盐业高层","3栋","新天",164,117,null,null,null,"3186.3187.3188.3189"]
[null,"宇航(DN100)","金帝对面通道门口中间外","中信","1栋","潍微",10,10,null,null,null,3160]
[null,"锦绣(DN100)","东口通道外","锦绣家园","5栋","民生",298,290,null,null,null,"3206.3207.3208.3209.3210"]
[null,"嘉禾(DN150)","泵房西北角","嘉禾名苑","6栋","潍微",674,670,null,null,null,"3063.3085.3086.3087.3088.3089"]
[null,"世纪(DN150)","东通道口外","世纪名苑","9栋","潍微",532,488,null,null,null,"3143.3129.3169.3130.3156.3131.3157.3170.3174"]
[null,"育才路财政(DN150)","东北口路边","财政新楼","2栋","新天",190,190,null,null,null,"3009.3010"]
[null,"盛世(DN150)","御景湾东5、6门之间彩砖中","盛世家园","6栋","潍微",641,588,null,null,null,"3165.3166.3168.3163.3164.3167"]
[null,null,null,"盛世御景湾","9栋","民生",586,486,null,null,null,"3204.3205.3201.3198.3199.3200.3202.3203.3212"]
[null,"教育小楼(DN110)","西南角路口处","教育","1栋","潍微",155,155,null,null,null,3103.3103999999998]
[null,null,null,"平房",null,null,461,118,null,null,null,"3504"]
[null,"枫景状元城(DN150)","高层对面彩砖中","枫景一期","3栋","新天",313,291,null,null,null,"3190.3191.3192"]
[null,null,null,"枫景二期","1栋","新天",103,16,null,null,null,3213]
[{"$nulls":6},{"$f":"SUM(G37:G51)","v":4304},{"$f":"SUM(H37:H51)","v":3596}]
["长虹所","电视台(DN100)","月亮门南夕阳红公寓门对面条石下","广播局旧楼","1栋","潍微",28,28,null,null,null,5183]
[null,null,null,"广播局新楼","1栋","潍微",31,31,null,null,null,5164]
[null,null,null,"房屋楼","2栋","潍微",34,34,null,null,null,5139]
[null,"南湖路自来水楼(DN100)","审计局门对面彩砖中","助诚","4栋","潍微",129,117,null,null,null,"5217.5218.5269"]
[null,null,null,"自来水楼","1栋","潍微",60,60,null,null,null,5167]
[null,null,null,"众合小区","1栋","潍微",35,34,null,null,null,5241.5241999999998]
[null,null,null,"工商行","1栋","潍微",70,70,null,null,null,5174]
[null,"洋洲(DN100) ","东口门边里","洋洲","1栋","潍微",48,48,null,null,"定时给水","5128"]
[null,null,null,"鑫隆商都",null,"潍微",34,34,null,null,"定时给水",5037]
[null,"南湖家园(DN150)","南通道口门里","南湖1-12","12栋","民生",986,822,null,null,null,"5253.5212.5207.5208.5252.5213.5211.5209.5254.5270.5210.5255.5256.5214"]
[null,null,null,"南湖13-24","12栋","新天",751,182,null,null,null,"5302.5303.5304.5305.5306.5307.5308.5309.5310.5311.5312.5313.5314"]
[null,"久铭(DN150)","北通道口门外","久铭","4栋","潍微",203,184,null,null,null,"5231.5232.5247.5271"]
[null,null,null,"社保住宅","1栋","潍微",36,34,null,null,null,"5021.5022"]
[null,"望族(DN100)","雅美口腔诊所门口","富安","2栋","新天",95,95,null,null,null,5048.5048999999999]
[null,null,null,"望族","7栋","新天",427,426,null,null,null,"5041.5042.5043.5044.5030.5031.5032."]
[null,null,null,"饲草","1栋","新天",82,82,null,null,null,5257]
[null,null,null,"日杂果品","1栋","新天",74,74,null,null,null,5258]
[null,null,null,"林业局","1栋","新天",99,99,null,null,null,"5045.5046.5047"]
[null,null,null,"市社","1栋","新天",97,97,null,null,null,5259]
[null,null,null,"建委","1栋","潍微",35,35,null,null,null,5137]
[null,null,null,"市政","1栋","潍微",30,29,null,null,null,5173]
[null,null,null,"房产","1栋","潍微",32,32,null,null,null,5172]
[null,null,null,"环卫","2栋","新天",52,51,null,null,null,5018.5019000000002]
[null,null,null,"佳居","9栋","新天",414,408,null,null,null,"5012.5013.5014.5015.5016.5017.5026.5027.5286"]
[null,null,null,"木材","1栋","潍微",76,76,null,null,null,5179]
[null,null,null,"燃料","2栋","潍微",37,37,null,null,null,"5163"]
[null,null,null,"恒源3(社保南)","1栋","潍微",61,61,null,null,null,"5020"]
[null,"安居二期(DN200)","是市政管网流量计在第一栋楼西北角","南湖丽景","8栋","新天",753,694,null,null,null,"5298.5292.5282.5299.5283.5300.5284.5301.5281.5293"]
[null,null,null,"鼎盛家园","3栋","潍微",51,42,null,null,null,5285]
[null,null,null,"四建楼","3栋","新天",193,193,null,null,null,"5122（新天）.5123（新天）.5141（潍微）"]
[null,null,null,"安居二期","16栋","潍微",1171,1084,null,null,null,"5250.5251.5233.5234.5235.5236.5249.5237.5238.5219.5220.5221.5222.5240.5239.5248"]
[null,"石油公司(DN100)","加油站东通道路边","石油住宅","1栋","潍微",84,84,null,null,null,5216]
[null,"安居一期(DN150)","西出口外","一期","13栋","潍微",1152,1124,null,null,null,"5192.5193.5203.5204.5205.5206.5194.5196.5197.5200.5201.5202.5195"]
[null,"粮库楼(DN100)","粮库大门口东角外","面粉厂","1栋","潍微",196,196,null,null,null,5145.5147999999999]
[null,null,null,"粮库","1栋","潍微",63,63,null,null,null,5146]
[null,null,null,"粮库老楼(外贸)","1栋","潍微",54,54,null,null,null,5147]
[null,"运管所(DN100)","加油站南6、7门对面","物流中心","1栋","光电",77,77,null,null,null,"5227"]
[{"$nulls":6},{"$f":"SUM(G53:G89)","v":7850},{"$f":"SUM(H53:H89)","v":6891}]
["慧阳所","丽水(DN150)","丽水西大门150米政务大厅彩砖","丽水庄园","4栋","新天",259,217,null,null,null,"6171.6172.6175.6176"]
[null,"滨江(DN200)","大十字路口兴华与长虹交汇","滨江1号","20栋","新天",1511,1239,null,null,null,"6122.6123.6128.6129.6130.6131.6132.6134.6135.6136.6137.6138.6139.6140.6141.6142.6143.6145.6146.6156"]
[null,"安麒(DN150)","消防通道东北口","安麒佳苑","12栋","民生",716,582,null,null,null,"6093.6033.6034.6094.6089.6090.6118.6102.6087.6088.6120.6168"]
[null,null,null,"安麒佳苑","1栋","潍微",43,28,null,null,null,"6181"]
[null,"金源(DN150)","南门口外","金源","4栋","潍微",399,181,null,null,null,"6182.6183.6184.6185"]
[null,"水晶城(DN150)","一期消防通道门口东南口","水晶城一期","13栋","潍微",771,704,null,null,null,"6054.6035.6055.6056.6036.6037.6058.6103.6038.6039.6063.6064.6115"]
[null,null,null,"水晶城二期","14栋","新天",942,848,null,null,null,"6147.6148.6149.6150.6151.6152.6153.6154.6155.6157.6158.6169.6170.6177"]
[null,"南湖新区(DN200)","污水处理厂外南口","碧康","24栋","新天",1788,1669,null,null,null,"6095.6096.6116.6117.6109.6066.6067.6068.6119.6097.6069.6070.6071.6098.6099.6072.6100.6073.6074.6075.6108.6076.6077.6101.6178"]
[null,null,null,"碧康","6栋","潍微",396,346,null,null,null,"6109.6110.6111.6112.6113.6114"]
[null,"东兴(DN150)","东南小区口外","东兴","4栋","潍微",310,307,null,null,null,"6025.6026.6027.6028"]
[null,null,null,"长虹公寓","1栋","潍微",81,80,null,null,null,"6127"]
[null,"碧水庄园(DN150)",null,"碧水庄园",{"$nulls":7},"未交工"]
[{"$nulls":6},{"$f":"SUM(G91:G102)","v":7216},{"$f":"SUM(H91:H102)","v":6201}]
[]
[{"$nulls":6},{"$f":"G36+G52+G90+G103","v":27349},{"$f":"H36+H52+H90+H103","v":23704}]